## WorkOrders
WO_Number | Date_Opened | Building | System | Description | Priority | Status | Date_Closed | Labor_Hours
26-04301 | 2026-08-02 | B-118 | Doors/Locks | Door not latching | Routine | Closed | 2026-08-16 | 0.5
26-04302 | 2026-08-03 | B-214 | Electrical | Outlet not working | Routine | Closed | 2026-08-17 | 0.5
26-04303 | 2026-08-03 | B-214 | HVAC | RTU-2 no cooling, classroom 112 at 84F | Emergency | Closed | 2026-08-03 | 3.5
26-04304 | 2026-08-04 | B-410 | Doors/Locks | Door not latching | Urgent | Closed | 2026-08-05 | 4
26-04305 | 2026-08-04 | B-214 | Doors/Locks | Door closer broken | Routine | Closed | 2026-08-14 | 3
26-04306 | 2026-08-04 | B-101 | Doors/Locks | Door closer broken, conference room | Routine | Open
26-04307 | 2026-08-05 | B-410 | Electrical | Outlet not working | Routine | Closed | 2026-08-13 | 1
26-04308 | 2026-08-05 | B-101 | Doors/Locks | Lock cylinder sticking | Urgent | Closed | 2026-08-05 | 1
26-04309 | 2026-08-05 | B-214 | Doors/Locks | Lock cylinder sticking | Routine | Closed | 2026-08-17 | 3
26-04310 | 2026-08-05 | B-118 | Grounds | Preventive maintenance, quarterly | Scheduled | Closed | 2026-08-07 | 0.5
26-04311 | 2026-08-06 | B-305 | Plumbing | Slow drain in restroom | Routine | Closed | 2026-08-15 | 0.5
26-04312 | 2026-08-06 | B-305 | Electrical | Light fixture out | Urgent | Closed | 2026-08-07 | 1.5
26-04313 | 2026-08-06 | B-101 | Grounds | Pothole near entrance | Routine | Closed | 2026-08-22 | 3
26-04314 | 2026-08-06 | B-118 | Electrical | Light fixture out, aisle 4 | Routine | Open
26-04315 | 2026-08-07 | B-214 | Grounds | Irrigation head broken | Urgent | Closed | 2026-08-08 | 1.5
26-04316 | 2026-08-07 | B-410 | Electrical | Outlet not working | Routine | Closed | 2026-08-22 | 1
26-04317 | 2026-08-08 | B-305 | Doors/Locks | Lock cylinder sticking | Routine | Closed | 2026-08-11 | 1.5
26-04318 | 2026-08-10 | B-118 | Plumbing | Slow drain in restroom | Urgent | Closed | 2026-08-12 | 4
26-04319 | 2026-08-10 | B-101 | Plumbing | Leaking faucet | Urgent | Closed | 2026-08-11 | 3
26-04320 | 2026-08-10 | B-410 | Doors/Locks | Preventive maintenance, quarterly | Scheduled | Closed | 2026-08-10 | 1.5
26-04321 | 2026-08-10 | B-305 | Plumbing | Leaking faucet, locker room | Routine | Open
26-04322 | 2026-08-11 | B-214 | HVAC | RTU-2 tripped on high head pressure | Urgent | Closed | 2026-08-12 | 2
26-04323 | 2026-08-12 | B-216 | Plumbing | Toilet running | Routine | Closed | 2026-08-28 | 2
26-04324 | 2026-08-12 | B-101 | Electrical | Outlet not working | Routine | Closed | 2026-08-15 | 3
26-04325 | 2026-08-13 | B-410 | Grounds | Pothole near entrance | Routine | Open
26-04326 | 2026-08-16 | B-410 | Doors/Locks | Lock cylinder sticking | Urgent | Closed | 2026-08-18 | 4
26-04327 | 2026-08-17 | B-101 | Doors/Locks | Preventive maintenance, quarterly | Scheduled | Closed | 2026-08-18 | 2
26-04328 | 2026-08-17 | B-216 | Electrical | Preventive maintenance, quarterly | Scheduled | Closed | 2026-08-21 | 1
26-04329 | 2026-08-17 | B-216 | Electrical | Outlet not working, room 204 | Routine | Open
26-04330 | 2026-08-18 | B-118 | Doors/Locks | Lock cylinder sticking | Urgent | Closed | 2026-08-19 | 2
26-04331 | 2026-08-19 | B-410 | Roofing | Preventive maintenance, quarterly | Scheduled | Closed | 2026-08-21 | 3
26-04332 | 2026-08-19 | B-214 | HVAC | RTU-2 no cooling again, condenser coil dirty | Urgent | Closed | 2026-08-20 | 4
26-04333 | 2026-08-20 | B-305 | Electrical | Preventive maintenance, quarterly | Scheduled | Closed | 2026-08-23 | 3
26-04334 | 2026-08-20 | B-410 | Electrical | Preventive maintenance, quarterly | Scheduled | Closed | 2026-08-20 | 0.5
26-04335 | 2026-08-20 | B-101 | Roofing | Ceiling stain after rain, hallway | Routine | Open
26-04336 | 2026-08-21 | B-214 | Doors/Locks | Door not latching | Routine | Closed | 2026-09-08 | 0.5
26-04337 | 2026-08-23 | B-118 | Grounds | Preventive maintenance, quarterly | Scheduled | Closed | 2026-08-27 | 1.5
26-04338 | 2026-08-23 | B-101 | Grounds | Tree limb down | Urgent | Closed | 2026-08-25 | 1
26-04339 | 2026-08-24 | B-118 | Doors/Locks | Roll-up door not latching | Routine | Open
26-04340 | 2026-08-25 | B-410 | Electrical | Preventive maintenance, quarterly | Scheduled | Closed | 2026-08-29 | 4
26-04341 | 2026-08-26 | B-214 | Roofing | Ceiling stain after rain | Urgent | Closed | 2026-08-28 | 3
26-04342 | 2026-08-26 | B-305 | Plumbing | Water fountain low pressure | Routine | Open
26-04343 | 2026-08-27 | B-214 | Plumbing | Toilet running | Routine | Closed | 2026-08-30 | 2
26-04344 | 2026-08-27 | B-410 | Electrical | Exit sign bulb out | Routine | Open
26-04345 | 2026-08-28 | B-214 | HVAC | RTU-2 contactor replaced | Urgent | Closed | 2026-08-29 | 2.5
26-04346 | 2026-08-29 | B-410 | Electrical | Preventive maintenance, quarterly | Scheduled | Closed | 2026-08-30 | 1.5
26-04347 | 2026-08-29 | B-214 | Plumbing | Toilet running | Routine | Closed | 2026-09-08 | 1
26-04348 | 2026-08-29 | B-216 | Plumbing | Leaking faucet | Urgent | Closed | 2026-08-30 | 1.5
26-04349 | 2026-08-29 | B-118 | Plumbing | Water fountain low pressure | Routine | Closed | 2026-09-18 | 1
26-04350 | 2026-08-31 | B-118 | Doors/Locks | Door closer broken | Routine | Closed | 2026-09-09 | 4
26-04351 | 2026-09-03 | B-118 | Doors/Locks | Lock cylinder sticking | Routine | Closed | 2026-09-20 | 0.5
26-04352 | 2026-09-05 | B-101 | HVAC | Noisy supply fan | Routine | Closed | 2026-09-11 | 3
26-04353 | 2026-09-05 | B-305 | Grounds | Tree limb down | Routine | Open
26-04354 | 2026-09-05 | B-101 | Roofing | Preventive maintenance, quarterly | Scheduled | Closed | 2026-09-07 | 3
26-04355 | 2026-09-05 | B-410 | HVAC | Filter change request | Urgent | Closed | 2026-09-07 | 3
26-04356 | 2026-09-06 | B-305 | Electrical | Preventive maintenance, quarterly | Scheduled | Closed | 2026-09-10 | 2
26-04357 | 2026-09-07 | B-216 | Electrical | Preventive maintenance, quarterly | Scheduled | Closed | 2026-09-10 | 1.5
26-04358 | 2026-09-07 | B-214 | Grounds | Pothole near entrance | Routine | Open
26-04359 | 2026-09-08 | B-214 | HVAC | RTU-2 low refrigerant, added charge, no leak found | Emergency | Closed | 2026-09-08 | 5
26-04360 | 2026-09-09 | B-214 | Grounds | Irrigation head broken | Urgent | Closed | 2026-09-09 | 1
26-04361 | 2026-09-10 | B-118 | Plumbing | Preventive maintenance, quarterly | Scheduled | Closed | 2026-09-11 | 2
26-04362 | 2026-09-10 | B-101 | Grounds | Preventive maintenance, quarterly | Scheduled | Closed | 2026-09-12 | 2
26-04363 | 2026-09-10 | B-410 | Doors/Locks | Door closer broken | Routine | Closed | 2026-09-17 | 0.5
26-04364 | 2026-09-12 | B-305 | Plumbing | Leaking faucet | Routine | Closed | 2026-09-14 | 4
26-04365 | 2026-09-12 | B-305 | Doors/Locks | Preventive maintenance, quarterly | Scheduled | Closed | 2026-09-14 | 1.5
26-04366 | 2026-09-12 | B-214 | Grounds | Irrigation head broken | Urgent | Closed | 2026-09-14 | 2
26-04367 | 2026-09-14 | B-101 | HVAC | Noisy supply fan | Routine | Closed | 2026-09-19 | 3
26-04368 | 2026-09-15 | B-214 | Plumbing | Leaking faucet | Routine | Open
26-04369 | 2026-09-16 | B-101 | Grounds | Preventive maintenance, quarterly | Scheduled | Closed | 2026-09-17 | 3
26-04370 | 2026-09-16 | B-214 | HVAC | RTU-2 no cooling, recommend nitrogen leak search | Urgent | Closed | 2026-09-17 | 3
26-04371 | 2026-09-17 | B-118 | Doors/Locks | Door closer broken | Routine | Closed | 2026-09-29 | 4
26-04372 | 2026-09-21 | B-101 | Electrical | Preventive maintenance, quarterly | Scheduled | Closed | 2026-09-26 | 0.5
26-04373 | 2026-09-21 | B-216 | Plumbing | Restroom flush valve leaking continuously | Urgent | Open
26-04374 | 2026-09-22 | B-214 | HVAC | RTU-2 compressor suspected, parts pending approval | Urgent | On Hold - Parts |  | 1.5
26-04375 | 2026-09-24 | B-410 | Electrical | Outlet not working | Routine | Closed | 2026-09-27 | 3
26-04376 | 2026-09-24 | B-101 | Electrical | Breaker tripping, server closet | Urgent | Open
26-04377 | 2026-09-27 | B-216 | HVAC | Office too warm | Routine | Open
26-04378 | 2026-09-28 | B-410 | Grounds | Preventive maintenance, quarterly | Scheduled | Closed | 2026-09-30 | 0.5
26-04379 | 2026-09-28 | B-118 | Electrical | Light fixture out | Routine | Open
26-04380 | 2026-09-29 | B-101 | Plumbing | Preventive maintenance, quarterly | Scheduled | Closed | 2026-09-30 | 1