# FM-SOP-03 · Work Order Priority Definitions

SAMPLE · FICTIONAL · FOR TRAINING ONLY. Not a TIYA Services document.

| SOP number | FM-SOP-03 |
| --- | --- |
| Revision | 2 · effective March 1, 2025 |
| Owner | Facilities Maintenance Manager |
| Approved by | Program Manager |

## 1. Purpose

Define the four work order priorities and the response and completion targets for each, so every request is handled consistently.

## 2. Scope

All facilities maintenance work orders received by the Work Order Desk, by phone, email, or the work order system.

## 3. Responsibilities

- Work Order Desk Coordinator: assigns the initial priority when the work order is entered.

- Facilities Lead: confirms or changes the priority within 1 hour for Emergency and within 1 business day for all others.

- Facilities Maintenance Manager: approves any priority downgrade of an Emergency work order.

## 4. Priority definitions and targets

| Priority | Definition | Respond within | Complete within |
| --- | --- | --- | --- |
| Emergency | Immediate threat to life, safety, health, or government property, or loss of a critical mission function. Examples: no heat or cooling in an occupied training facility outside the 65–80°F range, active water leak, electrical hazard, sewage backup. | 2 hours, 24/7 | 24 hours, or make safe within 24 hours and re-prioritize the remaining work |
| Urgent | Condition that will become an Emergency or seriously disrupt operations if not fixed soon. Examples: one of two restrooms out of service, a breaker tripping repeatedly. | 1 business day | 3 calendar days |
| Routine | Normal repairs with no immediate impact on safety or mission. | 5 business days | 30 calendar days |
| Scheduled | Preventive maintenance and planned work from the PM schedule (FM-SOP-15). | Not applicable | By the scheduled date |

## 5. Procedure

- The coordinator enters the work order and assigns a priority using the table above.

- If unsure between two priorities, assign the higher one and flag it for the Facilities Lead.

- The Facilities Lead confirms or changes the priority within the times in Section 3 and records the reason for any change in the work order notes.

- A work order that misses its completion target stays open with its original priority and is reported as overdue on the weekly backlog report.

- Three or more work orders for the same equipment within 60 days are reported to the Facilities Maintenance Manager as a repeat failure for root-cause review.

## 6. Records

Priority, any changes, and the reasons are kept in the work order system for the life of the contract.

## 7. Revision history

| Rev | Date | Change |
| --- | --- | --- |
| 1 | Jan 2022 | Initial release |
| 2 | Mar 2025 | Added repeat-failure rule (5.5); clarified temperature range |