# FM-SOP-07 · Emergency Work Order Response

SAMPLE · FICTIONAL · FOR TRAINING ONLY. Not a TIYA Services document.

| SOP number | FM-SOP-07 |
| --- | --- |
| Revision | 4 · effective June 1, 2026 |
| Owner | Facilities Maintenance Manager |
| Approved by | Program Manager |

## 1. Purpose

Make sure every Emergency work order (as defined in FM-SOP-03) gets a qualified response within 2 hours, at any time, and that the right people are told.

## 2. Scope

All Emergency work orders, during and after duty hours (duty hours are 0700–1600, Monday–Friday, excluding federal holidays).

## 3. Responsibilities

- Work Order Desk Coordinator (duty hours) or On-Call Lead (after hours): receives the call, opens the work order, dispatches.

- On-Call Technician: responds on site within 2 hours and makes the condition safe.

- Facilities Lead: notifies the COR and tracks the work order to completion.

- Facilities Maintenance Manager: notified of every after-hours Emergency by 0800 the next business day.

## 4. Definitions

- Make safe: actions that remove the immediate hazard (isolate power, shut off water, cordon off the area) even if the full repair takes longer.

- COR: the government Contracting Officer’s Representative for the facilities contract.

## 5. Procedure

- Receive. The caller reaches the Emergency Work Order Desk at 706-555-0100 (24/7; after hours this forwards to the On-Call Lead).

- Confirm Emergency. Check the request against the Emergency definition in FM-SOP-03. If it does not meet it, assign the correct priority and tell the caller what to expect.

- Open the work order with priority Emergency, the building, the location in the building, and a callback number.

- Dispatch the On-Call Technician by phone. If no answer within 10 minutes, call the backup technician on the on-call roster.

- Respond and make safe within 2 hours of the call. The technician updates the work order on arrival and when the area is safe.

- Notify the COR. During duty hours, the Facilities Lead notifies the COR within 1 hour of the work order being opened. After hours, the On-Call Lead notifies the COR by email the same night and by phone at 0700.

- Repair or re-prioritize. Complete the repair within 24 hours, or, once safe, re-prioritize the remaining work under FM-SOP-03 with the Facilities Lead’s approval.

- Close out. Record what was done, parts, labor hours, and the root cause if known.

## 6. Records

Work order history, on-call call log, and COR notification emails, kept for the life of the contract.

## 7. Revision history

| Rev | Date | Change |
| --- | --- | --- |
| 3 | Sep 2019 | Previous version |
| 4 | Jun 2026 | Rewrote to standard template; added COR notification times, backup dispatch, make-safe definition |