# FM-SOP-15 · Preventive Maintenance Scheduling

SAMPLE · FICTIONAL · FOR TRAINING ONLY. Not a TIYA Services document.

| SOP number | FM-SOP-15 |
| --- | --- |
| Revision | 1 · effective October 1, 2024 |
| Owner | Facilities Maintenance Manager |

## 1. Purpose

Keep equipment reliable by scheduling and completing preventive maintenance (PM) on a fixed cycle.

## 2. PM frequencies

| Equipment | Frequency | Typical tasks |
| --- | --- | --- |
| Rooftop units (RTUs) and split systems | Quarterly | Filters, belts, coil cleaning, refrigerant check |
| Chillers and boilers | Monthly inspection; annual service | Log readings, check controls, annual teardown inspection |
| Emergency lighting and exit signs | Monthly 30-second test; annual 90-minute test | Test, replace lamps and batteries |
| Roof drains and gutters | Quarterly and after major storms | Clear debris |
| Backflow preventers | Annual | Certified test |

## 3. Procedure

- The PM schedule for the next quarter is published by the 15th of the last month of the current quarter.

- PM work orders are generated with priority Scheduled (FM-SOP-03).

- A PM that cannot be done on its date is rescheduled within 14 days; the reason is recorded.

- Deficiencies found during PM that need repair become new work orders with their own priority.

## 4. Records

Completed PM checklists are attached to the work order.